## Sheet1
Equipment Type | Manufacturer | Location | Comments
Sorvall- RC 6 Centrifuge | Thermo-Fisher | 419 Latham | Users need training and password to operate
Sorvall- RC 6 Centrifuge | Thermo-Fisher | 529 Latham | Users need training and password to operate
Optima L-100 XP Ultrocentrifuge | Beckman Coulter | 529 Latham | See Dr. Pilot for instructions on using
Optima Max-XP Tabletop Ultracentrifuge | Beckman Coulter | 529 Latham | See Dr. Pilot for instructions on using
Real Time PCR | Applied BioSystems | 412 Latham | See Dr. Westwood for permission to use
Real Time PCR | Applied BioSystems | 413 Latham | See Dr. Schmale for permission to use
Real Time PCR | Applied BioSystems | 536 Latham | See Dr. McDowell or Bhadra Gunesekera for permission to use
Glass Dishwasher | Atlantic Technologies (Miele) | 319 Latham Hall | Carts and Racks are provided. Please return after use.
Chromatographic System & AKTA FPLC System | GE Healthcare | 428 Latham | See Dr. Tholl for permission to use
Chromatographic System & AKTA FPLC System | GE Healthcare | 411 Latham
Cryostat HM5500 | Fisher Scientific | 431 Latham
Gel Doc | BioRad | 330 Latham | See Dr. Colla'kova for permission to use. Users must provide their own paper to print
Gel Doc | BioRad | 419 Latham | Users must provide their own paper to print
Gel Doc | BioRad | 529 Latham | Users must provide their own paper to print
Plate Readers (Bioteck) | BioTek | 428 Latham | See Dr. Tholl for permission to use
Plate Readers (Bioteck) | BioTek | 529 Latham
Mass Spectrometer/Gas Chromatograph system includes: Inert MSD/DS Perf Bundle, Library bundle | Agilent Technologies | 413 Latham | See Dr. Schmale for permission to use
HPLC System includes: Analog interface board; Column heater | Beckman Coulter | 532 Latham | See Dr. Gillaspy for permission to use
HPLC System includes: Analog interface board; Column heater | Beckman Coulter | 418 Latham
3200Q Trap LC/MS/MS and HPLC system AB/MDS SCIEX | AB/MDS SCIEX and Agilent Technologies | 419 Latham | See Dr. Schmale or Kim Harich for permission to use
Ice machine | Strategic Equipment & Supply | 317 Latham
Ice machine | Strategic Equipment & Supply | 417 Latham
Ice machine | Strategic Equipment & Supply | 517 Latham
Axio Imager Microscope | Carl Zeiss | 323 Latham | See Dr. Gillaspy for permission to use
Axio Imager Microscope | Carl Zeiss | 431 Latham | See Dr. Tholl for permission to use
Freezone Bulk TD | Fisher Scientific | 424 Latham | See Dr. Veilleux's lab for instructions
96 Automated Washer | Fisher Scientific | 529 Latham
Comp. Dispense / Wash System | Fisher Scientific | 529 Latham
Biacore X | GE Healthcare | 428 Latham | See Dr. Tholl for permission to use
Eppendorf Centrifuge - Vacuum Concentrator w/ Pump and rotor | Fisher Scientific | 312 Latham
Upright -80 UTL Freezer | Fisher Scientific | 529 Latham
Upright -80 UTL Freezer | Fisher Scientific | 529 Latham
Upright -80 UTL Freezer | Fisher Scientific | 419 Latham
Upright -20 Isotemp Freezer | Fisher Scientific | 431 Latham
Nanodrop- ND1000 (Dr. Schmale) | Nanodrop | 428 Latham | See Dr. Tholl for permission to use
Nanodrop- ND1000 (Dr. Schmale) | Nanodrop | 419 Latham
Steam Autoclave | Getinge USA | 516 Latham | This is only for the tissue culture room. NO SOIL or TRASH
Freestanding Glass washer and baskets | Lancer USA | 516 Latham | This is only for the tissue culture room.
Autoclave | Consolidated | 317 Latham | You must have gone through training before you can operate this equipment
Autoclave | Consolidated | 417 Latham | You must have gone through training before you can operate this equipment
Autoclave | Consolidated | 517 Latham | You must have gone through training before you can operate this equipment
Scitillation Counter | Beckman Coulter | 529 Latham
Spectrophotometer with Temperature controller | Beckman Coulter | 529 Latham
Spectrophotometer with Temperature controller | Beckman Coulter | 420 Latham | See Dr. Zhao for permission to use
SZX 16 microscope | Olympus | 516a Latham | See Veilleux Lab 514 if training is needed
SV-11 microscope | Zeiss | 516a Latham | See McDowell Lab 536 if training is needed